### SPECIFICATIONS FOR

TENDER # 0171-0949

SUPPLY OF Ultrasound Unit

FOR WESTERN HEALTH

CLOSING DATE:	23 October 2009

CLOSING TIME:		11:00 AM (Newfoundland Time)

Invitation to Tender for One Ultrasound Unit

- General Provisions

  - Intent

This invitation to Tender is intended to obtain One Ultrasound Unit complete with installation for the Western Regional Health Authority (Western Health) at Western Memorial Regional Hospital.

This Tender is concerned with the acquisition of One Ultrasound Unit for Western Memorial Regional Hospital with consideration of the following:

- Ongoing service and maintenance support.

- All manuals, documents and initial supplies.

- The right to reproduce any printed materials supplied with the product for the purpose of using the product.

- Training and training manuals.

- Future enhancement availability.

1.1.1	Western Health reserves the right to order additional units at the same price for a period up to and including 31 December 2010.

  - Client Background

Western Health was established in 2005 and is responsible for the delivery of Health and Community Services in the Western Region.

  - Vendor Response

1.3.1	Vendor’s tender must contain an Executive Summary which shall contain:

- A brief description of the product being quoted.

- The name, title and address of the Vendor’s representative responsible for the preparation of the Tender.

    - All prices quoted for goods and services must be specified in Canadian dollars, FOB Western Memorial regional Hospital.  All Tenders will be held to be valid for ninety (90) days following the Tender closing date.

    - Tenders must be received in full on or before the exact closing time and date indicated.  TENDERS RECEIVED AFTER THAT TIME WILL NOT BE CONSIDERED.

1.3.4	All costs relating to the work and materials supplied by the Vendor in responding to this Invitation to Tender must be borne by the Vendor.

1.4	Release of Information

    - While Tender is Open:

The names of individuals or companies who have picked up the tender documents will not be released.

1.4.2	At Tender Opening:

Only the names of the bidders will be read out.

1.4.3	After Tender Opening:

1.	No further information will be released until after the contract is awarded.

2.	After award, only the name and bid price of the successful bidder will be made available.

3.	Information will be made available for a 90 day period only.

1.4.4	FYI, Statements that are included as part of our Tender calls:

While bidders are welcome to attend the public opening, please be advised that it is not our policy to release bid information.  Only the names of the bidders will be released.

1.5	Communication During Tendering

1.5.1	All communications with Western Health with respect to this invitation to Tender must be directed in writing to the attention of:

Mr. John Piercey

Regional Director, Materiels Management

Western Health

P.O. Box 2005

Corner Brook, Newfoundland

A2H 6J7

Tel:  (709) 637-5511

Fax:  (709) 634-2649

Email:  johnpiercey@westernhealth.nl.ca

1.5.2	Western Health may, during the assessment period, request meetings with the Vendors to clarify points in the Tender.  No changes by the Vendor will be permitted after the Tender closing date.

1.5.3	Faxed Tender responses will be accepted with the condition that the original Tender documents are received at Western Health’s Materiels Management Department no later than Five working days following the Tender closing date.

1.5.4	All bids must be sent in a sealed envelope clearly marked with Tender Name and Number to:	Materiels Management Department, Western Health, Western Memorial Regional Hospital, Lower Level, P.O. Box 2005, Corner Brook, NL  A2H 6J7.

    - Bids submitted by electronic transmission (e-mail) will not be accepted.

    - Companies submitting fax Tenders are doing so at their own risk and the fax Tender must be at the public opening as specified in the Tender information.  This Authority will not be responsible for in-house courier services if companies submit quotations by fax machine.  The time stated on the fax Tender will become null and void since it is the responsibility of the company placing the Tender to have their Tender at the public opening, therefore, this Authority will not be responsible for any damages or liabilities.

    - In order to contribute to waste reduction and promote environmental protection, the Western Health will endeavour to acquire goods and services that support these principles, therefore, product(s) quoted should include:

- maximum level of post-consumer waste and/or recyclable content

- minimal packaging

- minimal environmental hazards

- maximum energy efficiency

- potential for recycling

- disposal costs

- must not reduce the quality of the product required or affect the intended use of the product

- must not significantly impact the acquisition cost

1.6	Tender Acceptance

1.6.1	Any acquisitions resultant from this invitation to Tender shall be subject to the Public Tendering Act.

    - The Tenders shall be opened in the Private Dining Room at The Western Memorial Regional Hospital on the scheduled date and time.

    - Any Tender may be accepted in whole or in part.  The lowest Tender may not necessarily be accepted and Western Health reserves the right to cancel the Tender call.  Western Health shall not be held responsible or liable for the payment of any costs that are incurred by the bidder in preparing a Tender in response to this invitation to Tender.

1.7	Warranty

1.7.1	The Vendor shall warrant that the product supplied to Western Health shall equal the published specifications.

    - The Vendor shall provide no less than a 1-year warranty on the system.  The Vendor agrees to provide free of charge all parts and labour necessary to repair the system during the first year of operation.

    - Vendor shall indicate the warranty start date ________________.

    - Vendor shall indicate who will be providing the service and the nearest service location.

______________________		_____________________

    - Is a board replacement program available and at what cost?

Yes        No

Cost: _____________

- Product Specifications

  - Medical Device License Number for the product tendered ___________

  - The range of applications of the unit shall include Abdominal, Ob/Gyn, and Trans-Vaginal.

Yes  _____  No _____ Comment  _______________________________

  - The system shall be lightweight and portable with a cart.

Yes  _____  No _____ Comment  _______________________________

  - The system must have at least three (3) active probe ports at any one time or when attached to a cart.

Yes  _____  No _____ Comment  _______________________________

State Number: ______________________________________________

  - Internal hard drive must be capable of storage, retrieval and printing black and white images.  Please provide storage quantity of your system.

State Size: _________  Images: __________

Yes  _____  No _____ Comment  _______________________________

  - The system must have the following:

2-D, B-Mode, M-Mode, Power Doppler Mode, Realtime zoom.

Yes  _____  No _____ Comment  _______________________________

  - The system shall be designed with electronic switching of transducer types and frequencies.

Yes  _____  No _____ Comment  _______________________________

  - The system must have a minimum of 15 inch TFT high resolution colour Screen.

State Size: _________________

Yes  _____  No _____ Comment  _______________________________

  - Does the unit have a touch screen monitor?  If not what is the additional cost of a touch screen if available?

Yes  _____  No _____ Comment  _______________________________

  - The system must offer a method of enlarging image size while maintaining or increasing resolution.

Yes  _____  No _____ Comment  _______________________________

  - State which of the following peripheral devices: Storage Writer, color or black and white page printer, or UPS are integrated with the ultrasound unit on the same cart, and which of these are supplied only as an option.

Yes  _____  No _____ Comment  _______________________________

  - The system must be very mobile and easy to transport.

Yes  _____  No _____ Comment  _______________________________

  - The system must be ergonomically designed (height, maneuverability, wheel locks, etc.) and user friendly.  Please list the ergonomic advances of the quoted unit.

Yes  _____  No _____ Comment  _______________________________

  - The system must provide the capability to use up to three or more different frequencies per transducer.

Yes  _____  No _____ Comment  _______________________________

  - The system must include multi-frequency, wideband, electronic transducers.

Yes  _____  No _____ Comment  _______________________________

  - The Vendor shall include pricing of the transducers for the following applications:

  - Obstetrics / Gyne, Adult Abdomen

  - Vascular, Small parts

  - Trans-Vaginal

  - The Vendor shall provide unit pricing for ALL available transducers that are compatible with the proposed system.  List the suggested probes for the applications in 2.16 above.

Yes  _____  No _____ Comment  _______________________________

  - Provide as an option, pricing for a cleaning / disinfection system such as the GUS G10VP or equivalent for the trans-vaginal probe.  Please provide specifications of the system.

Yes  _____  No _____ Comment  _______________________________

2.19	The unit must have an OBS /Gyn measurement and reporting package.

Yes  _____  No _____ Comment  _______________________________

2.20	The system must have a quick boot up time.  Please state boot up time from a cold start.

Yes  _____  No _____ Comment  _______________________________

2.21	The Vendor shall include pricing for any available demo unit(s) with less than one year of use and 1 year warranty on all parts and labour.

Yes  _____  No _____ Comment  _______________________________

OPTIONAL

2.22	The vendor shall provide pricing on a probe replacement program.

3.0	Presentation / Training / Service

  - Presentation

A presentation of the Tender and / or a demonstration of the product / system shall be provided, if requested, at the Vendor’s expense.

3.2	Training

3.2.1	The Vendor shall provide on-site training to staff in the use of the ultrasound unit.  All costs associated with this training shall be included in the total Tender price.  The length of such training shall be what is reasonably required to train the users of the equipment and shall be documented.

3.2.2	The Vendor shall agree to provide pricing for factory training for One in-house Biomedical Technologist, employed by Western Health, for the purpose of maintaining the ultrasound unit.  Such training shall be equal to the training provided to the Vendors own service staff.  All costs associated with this training, including travel, accommodations, meals and tuition shall be included in the Tender price.

All special tools to properly service the system must be included in the bid.

All diagnostic software licenses and associated costs must be included in the bid for the life of the equipment while it is supported by the manufacturer.

3.3	Service

    - The Vendor shall confirm in writing that Parts and Labour will be available for the quoted system for not less than nine (9) years after the warranty period.

    - The Vendor shall provide as an option, pricing for a one-year Service Contract including all parts and labour.

    - The Vendor shall provide a minimum of 2 copies of the Operating, Parts and Service Manuals which must accompany the equipment when shipped.

- Installation

A.	Are there utility requirements:

1.	Electrical Voltage:  				  Amperage:

2.	Drains:   Yes

3.	Water:    Yes

Other:     Yes

Specifics:

B.	If the device contains a battery, state the battery type and typical life cycle (hours of operation and charging time).  State additional systems or work required to maintain the battery.

C.	The equipment (except if solely battery operated) must comply with C.S.A. standard No. C22.2-125 (Biomedical), or 114 (Radiology), or 151 (Laboratory), or C22.2 No. 601.1 plus applicable particular standard(s) and be certified by an organization accredited by the Standards Council of Canada.

Yes        No

D.	The equipment must be labeled with C.S.A. 125 Risk Class or C.S.A. 601.1 Equipment Type.    Yes        No

E.	Equipment that requires on site certification to meet CSA Standards must be completed by an accredited testing organization.  The cost of this must be covered by the supplier.

Yes        No

F.	Will any site preparation be necessary? Yes        No

If yes, explain

G.	All supplies required for the initial start up and/or commissioning of the equipment shall be included.

Yes        No

H.	Will this equipment require any unloading equipment to make safe receipt at time of delivery?	Yes        No

I.	If installation is involved, the Vendor shall coordinate the delivery and installation of the equipment.

Yes        No

4.4	Evaluation

No contract shall be awarded unless:

a.	The system or any of its accessories has been previously used and deemed to be satisfactory, or

b.	The system or any of its accessories has been pretested and found to be satisfactory prior to submission of quotes, or

c.	The system or any of its accessories which is the low or preferred bid is evaluated before award of any contract to purchase.

5.0	Product History and Vendor Reputation

5.1	The Vendor shall provide a list of three (3) organizations where a similar Unit has been installed.  Include a contact person for each organization.

6.0	Financial Considerations

6.1	All applicable taxes shall be indicated in the Tender.

6.2	The cost for installation, initial set-up and programming shall be included in the Tender price.

  - All costs for training shall be included in the Tender.  This includes any travel, meals and accommodation.

6.4      Terms of Payment

The Authority agrees to pay the full invoiced amount within 30 days following acceptance of the installed system by Western Health.  Acceptance testing will be completed within 30 days following the complete installation of the system.

7.0	Vendor Confirmation (please sign)

I confirm that our Tender meets or exceeds the specifications detailed in this invitation to Tender.  I also confirm that all specifications are included in the quoted price.  Any items that are optional are noted accordingly.

Signed

Title

Company Name

Address                    _________________________

_________________________

Phone                       _________________________

Tender Price $ _______________	Tax Extra  	Yes _____ No _____

## TENDER CHECKLIST

TENDER # 0171-0949

DID YOU INCLUDE

HAS TENDER SUBMISSION BEEN SIGNED					Yes 	    No

COPY OF REQUIRED TENDER DOCUMENTS    				Yes 	    No

COPY OF BROCHURES (IF REQUESTED)					Yes 	    No

COPY OF WCB LETTER OF GOOD STANDING (IF REQUIRED)		Yes 	    No

COPY OF PROOF OF INSURANCE (IF REQUIRED)				Yes 	    No

AMOUNT OF TAX NOTED ON REQUEST FOR QUOTATION FORM	Yes 	    No

OPTIONAL PRICING FOR TRAINING INCLUDED				Yes 	    No

NOTE:  	TENDER RESPONSES MAY BE REJECTED IF YOU ANSWER “NO” TO ANY OF THE ABOVE QUESTIONS.