ADDENDUM II

Tender 0171-1029

Supply of EPS Insulation and Modified Bitumen Roofing

For Western Health

- Roofing section 22, 32, 33 and 34 to be removed from tender.

- Under 2.0 Specifications subsection 2.4 (Asphalt Recover Board)

2.4.1 should read “Two layers of 3 mm thick semi-rigid asphaltic

roofing substrate composed of mineral core between glass fibre mats.”