[image: image1.jpg]o b ‘.,u"‘ b
| ® i [P \"‘/‘;,JA
2 | 57N

Yy af
MNE |\
| /)

’ i;’yi’; y
| &=

I

Western

Health

M\ |
m‘x‘\,,“‘ ‘\\ i
A\ A |
[’ |
v




SPECIFICATIONS FOR

TENDER #0171-1144
SUPPLY OF rETINAL Surgery Packs
FOR WESTERN HEALTH

CLOSING DATE:
26 August 2011
CLOSING TIME:

11:00 AM (Newfoundland Time)

[image: image2.jpg]o b ‘.,u"‘ b
| ® i [P \"‘/‘;,JA
2 | 57N

Yy af
MNE |\
| /)

’ i;’yi’; y
| &=

I

Western

Health

M\ |
m‘x‘\,,“‘ ‘\\ i
A\ A |
[’ |
v




Invitation to Tender for Retinal Surgery Packs
1.0 General Provisions

1.1 Intent

This invitation to Tender is intended to obtain a standing offer on Retinal Surgery  Packs to be supplied as needed for from an established Canadian Medical Supply Company for a three year period.  The bidding company must have all applicable licences to supply medical devices in Canada.
This Tender is concerned with the acquisition of Retinal Surgery  Packs for the Western Health with consideration of the following:

· Ongoing service and maintenance support.

· All manuals, documents and initial supplies.

· The right to reproduce any printed materials supplied with the product for the purpose of using the product.

· Training and training manuals.

· Future enhancement availability.

1.2 Client Background

Western Health was established in 2005 and is responsible for the delivery of Health and Community Services in the Western Region.

1.3 Vendor Response

1.3.1
Vendor’s tender must contain an Executive Summary which shall contain:


a. A brief description of the product being quoted.

b. The name, title and address of the Vendor’s representative responsible for the preparation of the Tender.

1.3.2 All prices quoted for goods and services must be specified in Canadian dollars, FOB Western Health.  All Tenders will be held to be valid for ninety (90) days following the Tender closing date.

1.3.3 Tenders must be received in full on or before the exact closing time and date indicated.  TENDERS RECEIVED AFTER THAT TIME WILL NOT BE CONSIDERED.
1.3.4
All costs relating to the work and materials supplied by the Vendor in responding to this Invitation to Tender must be borne by the Vendor.

1.4
Release of Information

1.4.1 While Tender is Open:



The names of individuals or companies who have picked up the tender documents will be released for construction tenders only.



Individual Authorities may determine that this information will not be released in situations where it is not in the best interest of the Authority to do so.



Upon request, this information may be released to designate(s) of the Newfoundland and Labrador Construction Association (NLCA) only.  The designate(s) will be agreed upon by the Authorities and the NLCA.



This information will be released upon request from the NLCA designate(s) at a maximum once per week.



No information will be released in the seven calendar days preceding tender opening.


1.4.2
At Tender Opening:


1.  The names of the bidders, and overall bid price(s) will be read out.



2.  Where the overall bid price(s) cannot be readily determined, no pricing will be released.


1.4.3
After Tender Opening:



1.
No further information will be released until after the contract is awarded.



2.
After award, only the name and bid price of the successful bidder will be made available.



3.
Information will be made available for a 90 day period only.



4.
Successful Awards will be posted on Web Site.

1.5
Communication During Tendering


1.5.1
All communications with Western Health with respect to this invitation to Tender must be directed in writing to the attention of:

Mr. Paul Wight

Regional Purchasing Manager

Western Health

P.O. Box 2005

1 Brookfield Avenue

Corner Brook, Newfoundland

A2H 6J7

Tel:  (709) 637-5511

Fax:  (709) 634-2649

Email:  paulwight@westernhealth.nl.ca

1.5.2
Western Health may, during the assessment period, request meetings with the Vendors to clarify points in the Tender.  No changes by the Vendor will be permitted after the Tender closing date.

1.5.3
Faxed Tender responses will be accepted with the condition that the original Tender documents are received at Western Health’s Materiels Management Department no later than Five working days following the Tender closing date.

1.5.4
All bids must be sent in a sealed envelope clearly marked with Tender Name and Number to:
Materiels Management Department, Western Health, Western Memorial Regional Hospital, Lower Level, P.O. Box 2005, Corner Brook, NL  A2H 6J7.

1.5.5 Bids submitted by electronic transmission (e-mail) will not be accepted.

1.5.6 Companies submitting fax Tenders are doing so at their own risk and the fax Tender must be at the public opening as specified in the Tender information.  This Authority will not be responsible for in-house courier services if companies submit quotations by fax machine.  The time stated on the fax Tender will become null and void since it is the responsibility of the company placing the Tender to have their Tender at the public opening, therefore, this Authority will not be responsible for any damages or liabilities.

1.5.7 In order to contribute to waste reduction and promote environmental protection, the Western Health will endeavour to acquire goods and services that support these principles, therefore, product(s) quoted should include:

· maximum level of post-consumer waste and/or recyclable content

· minimal packaging

· minimal environmental hazards

· maximum energy efficiency

· potential for recycling

· disposal costs

· must not reduce the quality of the product required or affect the intended use of the product

· must not significantly impact the acquisition cost

1.5.8 Are the quoted price(s) on this tender (where applicable) available to our employees?

Yes
      
No 
       N/A

Administratively the Western Health Authority will not be involved in ordering, servicing, warranty and payment; the employee(s) would deal directly with the company.


1.6
Tender Acceptance

1.6.1
Any acquisitions resultant from this invitation to Tender shall be subject to the Public Tendering Act.

1.6.2 The Tenders shall be opened in the Private Dining Room at The Western Memorial Regional Hospital on the scheduled date and time.

1.6.3 Any Tender may be accepted in whole or in part.  The lowest Tender may not necessarily be accepted and Western Health reserves the right to cancel the Tender call.  Western Health shall not be held responsible or liable for the payment of any costs that are incurred by the bidder in preparing a Tender in response to this invitation to Tender.

1.7
Warranty
1.7.1
The Vendor shall warrant that the product supplied to Western Health shall equal the published specifications.

1.7.2 The Vendor shall provide no less than a 1-year warranty on the system.  The Vendor agrees to provide free of charge all parts and labour necessary to repair the system during the first year of operation.

1.7.3 Vendor shall indicate the warranty start date ________________.

1.7.4 Vendor shall indicate the individual who will be providing the service and the nearest service location.  

______________________

_____________________

1.7.5 Is a board replacement program available and at what cost?

Yes        No  

Cost: _____________

2.0 Product Specifications

The Surgery Packs must contain the following items and quantities and are subject to approval by Western Health’s medical team:
Disposable Gown

Esteem 7 ½ Gloves

Disposable ½ sheet x 2

Ophthalmic Drape with pouch 1032 or equivalent

Prep Tray x 1

2 large gloves

3 inch Bridine Stix x 3 /pkg

Raytec x 10

Eye Shield – Clear or Rubber Gasket

Instrument Wipe

Surgical Spears x 10

3 inch Q Tips x 20

Mayo Stand Cover x 2

Silicone Instrument Pad x 2

Medicine Cup x 3

Sterile Skin Marker – Waterproof

Label Waterproof x 10

Op Site 4 x 4 ¾ x 1

Tuberculin Syringes x 3

3 cc Syringes x 5

5 cc Syringe x 1

25 G Hypo 11/2 x 1

25 G Hypo 5/8 x 1

18 G Hypo x 1

30 g Hypo X 3

50 ml Syrine

Magnetic Sharp Container

Sclerotome Blade

BD Vistec High Flow Filter 0.20 Micron

BSS 15 ml x 2

3.0
Presentation / Training / Service

3.1 Presentation
A presentation of the Tender and / or a demonstration of the product / system shall be provided, if requested, at the Vendor’s expense.

4.0 Product History and Vendor Reputation

4.1 The Vendor shall provide a list of three (3) organizations where a similar Unit has been installed.  Include a contact person for each organization.

5.0 Financial Considerations
5.1 All applicable taxes shall be indicated in the Tender.

5.2 The cost for installation, initial set-up and programming shall be included in the Tender price.

5.3 All costs for training if applicable shall be included in the Tender.  This includes any travel, meals and accommodation.

5.4 Terms of Payment

The Authority agrees to pay the full invoiced amount within 30 days following acceptance of the installed system by Western Health.  Acceptance testing will be completed within 30 days following the complete installation of the system.

6.0 Vendor Confirmation (please sign)

I confirm that our Tender meets or exceeds the specifications detailed in this invitation to Tender.  I also confirm that all specifications are included in the quoted price.  Any items that are optional are noted accordingly.


Signed




Title





Company Name



Address                    _________________________

                                            _________________________


Phone                       _________________________

Tender Price Per Pack $ __________

Tax Extra  
Yes _____ No _____

TENDER CHECKLIST

TENDER #0171-1144
DID YOU INCLUDE

HAS TENDER SUBMISSION BEEN SIGNED




Yes 
    No 
   

COPY OF REQUIRED TENDER DOCUMENTS    



Yes 
    No 
      

COPY OF BROCHURES (IF REQUESTED)




Yes 
    No 
      

COPY OF WCB LETTER OF GOOD STANDING (IF REQUIRED)

Yes 
    No 
   

COPY OF PROOF OF INSURANCE (IF REQUIRED)



Yes 
    No


AMOUNT OF TAX NOTED ON REQUEST FOR QUOTATION FORM
Yes 
    No 
   

OPTIONAL PRICING FOR TRAINING INCLUDED



Yes 
    No 
   

NOTE:  
TENDER RESPONSES MAY BE REJECTED IF YOU ANSWER “NO” TO ANY OF THE ABOVE QUESTIONS.










































































































