### SPECIFICATIONS FOR

TENDER #0671-1045

supply of exterior RENOVATIONS

gILBERT PLACE

1 gRAND BAY ROAD

PORT AUX BASQUES

FOR

WESTERN HEALTH

CLOSING DATE:	1 November 2010

CLOSING TIME:		11:00 AM (Newfoundland Time)

Invitation to Tender for Exterior Renovations to Gilbert Place, Port aux Basques

- General Provisions

  - Intent

This invitation to Tender is intended to obtain Exterior Renovations to Gilbert Place, 1 Grand Bay Road, Port aux Basques for the Western Regional Health Authority (Western Health).

This Tender is concerned with the acquisition of Exterior Renovations to Gilbert Place, 1 Grand Bay Road, Port aux Basques with consideration of the following:

- Ongoing service and maintenance support.

- All manuals, documents and initial supplies.

- The right to reproduce any printed materials supplied with the product for the purpose of using the product.

- Training and training manuals.

- Future enhancement availability.

1.1.1	Western Health reserves the right to order additional units at the same price for a period up to and including 31 December 2010.

  - Client Background

Western Health was established in 2005 and is responsible for the delivery of Health and Community Services in the Western Region.

  - Vendor Response

1.3.1	Vendor’s tender must contain an Executive Summary which shall contain:

- A brief description of the product being quoted.

- The name, title and address of the Vendor’s representative responsible for the preparation of the Tender.

    - All prices quoted for goods and services must be specified in Canadian dollars, FOB «Site».  All Tenders will be held to be valid for ninety (90) days following the Tender closing date.

    - Tenders must be received in full on or before the exact closing time and date indicated.  TENDERS RECEIVED AFTER THAT TIME WILL NOT BE CONSIDERED.

1.3.4	All costs relating to the work and materials supplied by the Vendor in responding to this Invitation to Tender must be borne by the Vendor.

1.4	Release of Information

    - While Tender is Open:

The names of individuals or companies who have picked up the tender documents will be released for construction tenders only.

Individual Authorities may determine that this information will not be released in situations where it is not in the best interest of the Authority to do so.

Upon request, this information may be released to designate(s) of the Newfoundland and Labrador Construction Association (NLCA) only.  The designate(s) will be agreed upon by the Authorities and the NLCA.

This information will be released upon request from the NLCA designate(s) at a maximum once per week.

No information will be released in the seven calendar days preceding tender opening.

1.4.2	At Tender Opening:

The names of the bidders, and overall bid price(s) will be read out.

Where the overall bid price(s) cannot be readily determined, no pricing will be released.

1.4.3	After Tender Opening:

1.	No further information will be released until after the contract is awarded.

2.	After award, only the name and bid price of the successful bidder will be made available.

3.	Information will be made available for a 90 day period only.

4.	Successful Awards will be posted on Web Site.

1.4.4	FYI, Statements that are included as part of our Tender calls:

While bidders are welcome to attend the public opening, please be advised that it is not our policy to release bid information.  Only the names of the bidders will be released.

1.5	Communication During Tendering

1.5.1	All communications with Western Health with respect to this invitation to Tender must be directed in writing to the attention of:

Mr. John Piercey

Regional Director, Materiels Management

Western Health

P.O. Box 2005

1 Brookfield Avenue

Corner Brook, Newfoundland

A2H 6J7

Tel:  (709) 637-5511

Fax:  (709) 634-2649

Email:  johnpiercey@westernhealth.nl.ca

1.5.2	Western Health may, during the assessment period, request meetings with the Vendors to clarify points in the Tender.  No changes by the Vendor will be permitted after the Tender closing date.

1.5.3	Faxed Tender responses will be accepted with the condition that the original Tender documents are received at Western Health’s Materiels Management Department no later than Five working days following the Tender closing date.

1.5.4	All bids must be sent in a sealed envelope clearly marked with Tender Name and Number to:	Materiels Management Department, Western Health, Western Memorial Regional Hospital, Lower Level, P.O. Box 2005, Corner Brook, NL  A2H 6J7.

    - Bids submitted by electronic transmission (e-mail) will not be accepted.

    - Companies submitting fax Tenders are doing so at their own risk and the fax Tender must be at the public opening as specified in the Tender information.  This Authority will not be responsible for in-house courier services if companies submit quotations by fax machine.  The time stated on the fax Tender will become null and void since it is the responsibility of the company placing the Tender to have their Tender at the public opening, therefore, this Authority will not be responsible for any damages or liabilities.

    - In order to contribute to waste reduction and promote environmental protection, the Western Health will endeavour to acquire goods and services that support these principles, therefore, product(s) quoted should include:

- maximum level of post-consumer waste and/or recyclable content

- minimal packaging

- minimal environmental hazards

- maximum energy efficiency

- potential for recycling

- disposal costs

- must not reduce the quality of the product required or affect the intended use of the product

- must not significantly impact the acquisition cost

    - Are the quoted price(s) on this tender (where applicable) available to our employees?

Yes	      	No 	       N/A

Administratively the Western Integrated Health Authority will not be involved in ordering, servicing, warranty and payment; the employee(s) would deal directly with the company.

1.6	Tender Acceptance

1.6.1	Any acquisitions resultant from this invitation to Tender shall be subject to the Public Tendering Act.

    - The Tenders shall be opened in the Private Dining Room at The Western Memorial Regional Hospital on the scheduled date and time.

    - Any Tender may be accepted in whole or in part.  The lowest Tender may not necessarily be accepted and Western Health reserves the right to cancel the Tender call.  Western Health shall not be held responsible or liable for the payment of any costs that are incurred by the bidder in preparing a Tender in response to this invitation to Tender.

1.7	Warranty

1.7.1	The Vendor shall warrant that the product supplied to Western Health shall equal the published specifications.

    - The Vendor shall provide no less than a 1-year warranty on the system.  The Vendor agrees to provide free of charge all parts and labour necessary to repair the system during the first year of operation.

    - Vendor shall indicate the warranty start date ________________.

    - Vendor shall indicate the individual who will be providing the service and the nearest service location.

______________________		_____________________

    - Is a board replacement program available and at what cost?

Yes        No

Cost: _____________

- Product Specifications

2.1	Summary of Work

Gilbert Place is owned by NLHC and Maintained by Western Health.. The building consists of 21 rental units in a 3 story unit.

Work of this contract comprises of the removal and Supply and installation of 77 windows in a 3 story, 21 unit rental building. The removal and proper disposal of all windows.

Shop drawings are to be submitted prior to ordering of materials.  Allow 10 days for Western Health to review.

2.2	 Waste Management and Disposal

Any materials which can be recycled are to be collected, separated and stored on site until such time they are transported to a recycling facility.

Any windows deemed salvageable by Western Health will be identified prior to commencement of work and are to be carefully removed and stored on site to allow collection by Western Health.

All waste material is to be removed from site in a timely manner and disposed of in accordance with local regulations.

### 2.3	 Vinyl Windows (c/w primed MDF Interior Trims)

### 2.3.1     References

### 1. Canadian General Standards Board (CGSB)

#### 1. CAN/CGSB-79.1, Insect Screens.

2. Canadian Standards Association (CSA)

1.  CSA-A440-00/A440.1,A440, Windows / Special

Publication A440.1, User Selection Guide to CSA

Standard A440, Windows.

2.  CAN/CSA-Z91, Safety Code for Window Cleaning

Operations.

## 2.3.2	 Submittals

1. Indicate materials and details in scale full size for head, jamb and sill,

profiles of components, interior and exterior trim.  Junction between

combination units, elevations of unit, anchorage details, location of

isolation coating, description of related components and exposed

finishes fasteners, and caulking.  Indicate location of manufacturer’s

nameplates.

2.  Shop drawings to include continuation of air barrier and vapour barrier

between wall assembly and vinyl window.

3.  Submit one complete full size window sample of each type window.

4.  Include frame, sash, sill, glazing and weatherproofing method, insect

screens, surface finish and hardware.  Show location of manufacturer’s 		     nameplates.

5,  Include 150 mm long samples of head, jamb, sill, meeting rail, mullions

to indicate profile.

2.3.3	Test Reports

1.  Submit test reports from approved independent testing laboratories,

certifying compliance with specifications, for:

1.	Windows classifications

2.	Air tightness

3.	Water tightness

4.	Wind load resistance

5.	Condensation resistance

6.	Forced entry resistance

7.	Insect screens

8.	Glazing

9.	Safety drop – vertical sliding windows only

10.	Ease of operation – windows with operable lights

11.	Sash pull-off – vinyl windows

2.3.4	Warranty

1. Provide a written warranty for work under this Section from

Manufacturer for failure due to defective materials and from Contractor

for failure due to defective installation, workmanship for ten (10) years

respectively.

2.3.5	Closeout Submittals

1.  Provide operation and maintenance data for windows for incorporation

into manual specified in Section 01 78 00 – Closeout Submittals.

2.3.6	Materials

1.  Materials:  to CSA – A440/A440.1 supplemented as follows:

2.  All vinyl windows by same manufacturer (2.0” brickmold).  White

in color.

3.  Sash: vinyl.

4.  Main frame: vinyl, thermally broken.

5.  Glass:  in accordance with Section 08 80 50 – Glazing.

6.  Screens: to CAN/CGSB – 79.1.

1.  Insect screening mesh:  count 18 x 14.

2.  Fasteners: tamper proof.

3.  Screen frames: aluminum, colour to match window

frames.

4.  Mount screen frames for interior replacement.

5.  Provide full insect screens to cover entire window.

2.3.7	Window Type and Classification

1.  Types:

Casement with insulating glass

Screens:  all windows to have screens

Two pane with one side crank opening

2.  Classification rating:  to CSA-A440/A440.1 for various regions of

Newfoundland and Labrador as follows:

Corner Brook		A3, B5, C4, I40, F1, S1, G1

3.  Energy ratings:  windows to be Energy Star certified to Canadian

Standards Association for various regions of Newfoundland and

Labrador as follows:

Island Region (excluding Northern Peninsula).

Zone B.

2.3.8	Window Installation

1.  Install in accordance with CSA-A440.

2.  Arrange components to prevent abrupt variation in colour.

3.  Install shims between windows and building frame at each installation

screw location.  Shim and fasten windows in accordance with

manufacturer’s recommendations and CAN/CSA A440.4.

2.3.9	Caulking

1.  Seal joints between windows and window sills with sealant.  Caulk

between sill upstand and window-frame.  Cauk butt joints in continuous 	                sills.

2.  Apply sealant in accordance with Section 07 92 00 – Joint Sealants.

Conceal sealant within window units except where exposed use is

permitted by Owner’s Representative.

3.0	Presentation / Training / Service

  - Presentation

A presentation of the Tender and / or a demonstration of the product / system shall be provided, if requested, at the Vendor’s expense.

- Product History and Vendor Reputation

  - The Vendor shall provide a list of three (3) organizations where a similar Unit has been installed.  Include a contact person for each organization.

- Financial Considerations

  - All applicable taxes shall be indicated in the Tender.

  - The cost for installation, initial set-up and programming shall be included in the Tender price.

  - All costs for training shall be included in the Tender.  This includes any travel, meals and accommodation.

  - Terms of Payment

The Authority agrees to pay the full invoiced amount within 30 days following acceptance of the installed system by Western Health.  Acceptance testing will be completed within 30 days following the complete installation of the system.

- Vendor Confirmation (please sign)

I confirm that our Tender meets or exceeds the specifications detailed in this invitation to Tender.  I also confirm that all specifications are included in the quoted price.  Any items that are optional are noted accordingly.

Signed

Title

Company Name

Address                    _________________________

_________________________

Phone                       _________________________

Tender Price $ _______________	Tax Extra  	Yes _____ No _____

## TENDER CHECKLIST

TENDER #0671-1045

DID YOU INCLUDE

HAS TENDER SUBMISSION BEEN SIGNED					Yes 	    No

COPY OF REQUIRED TENDER DOCUMENTS    				Yes 	    No

COPY OF BROCHURES (IF REQUESTED)					Yes 	    No

COPY OF WCB LETTER OF GOOD STANDING (IF REQUIRED)		Yes 	    No

COPY OF PROOF OF INSURANCE (IF REQUIRED)				Yes 	    No

AMOUNT OF TAX NOTED ON REQUEST FOR QUOTATION FORM	Yes 	    No

OPTIONAL PRICING FOR TRAINING INCLUDED				Yes 	    No

NOTE:  	TENDER RESPONSES MAY BE REJECTED IF YOU ANSWER “NO” TO ANY OF THE ABOVE QUESTIONS.